| DIVISION 01 - GENERAL REQUIREMENTS |  |
| --- | --- |
| 01 10 00 | SUMMARY |
| 01 31 10 | CONTRACTOR PERSONNEL |
| 01 33 00 | SUBMITTAL PROCEDURES |
| 01 42 00 | REFERENCES |
| 01 60 00 | PRODUCT REQUIREMENTS |
| 01 73 00 | EXECUTION |
| 01 74 19 | CONSTRUCTION WASTE MANAGEMENT AND DISPOSAL |
| 01 77 00 | CLOSEOUT PROCEDURES |
| 01 78 23 | OPERATION AND MAINTENANCE DATA |
| 01 78 39 | PROJECT RECORD DOCUMENTS |
| 01 79 00 | DEMONSTRATION AND TRAINING |
| 01 91 13 | GENERAL COMMISSIONING REQUIREMENTS |
| DIVISION 02 - EXISTING CONDITIONS |  |
| 02 82 33 | REMOVAL AND DISPOSAL OF ASBESTOS CONTAINING MATERIALS |
| 02 83 33 | REMOVAL AND DISPOSAL OF MATERIAL CONTAINING LEAD |
| 02 84 33 | REMOVAL AND DISPOSAL OF UNIVERSAL WASTE AND PCB |
| DIVISION 03 - CONCRETE |  |
| 03 01 30 | MAINTENANCE OF CAST-IN-PLACE CONCRETE |
| 03 30 00 | CAST-IN-PLACE CONCRETE |
| DIVISION 05 - METALS |  |
| 05 12 00 | STRUCTURAL STEEL FRAMING |
| 05 31 00 | STEEL DECKING |
| 05 40 00 | COLD-FORMED METAL FRAMING |
| 05 50 00 | METAL FABRICATIONS |
| DIVISION 06 - WOOD, PLASTICS, AND COMPOSITES |  |
| 06 10 53 | MISCELLANEOUS ROUGH CARPENTRY |
| 06 20 23 | INTERIOR FINISH CARPENTRY |
| DIVISION 07 - THERMAL AND MOISTURE PROTECTION |  |
| 07 19 00 | WATER REPELLENTS |
| 07 21 00 | THERMAL INSULATION |
| 07 31 13 | ASPHALT SHINGLES |
| 07 41 13.16 | STANDING-SEAM METAL ROOF PANELS |
| 07 42 13.13 | FORMED METAL WALL PANELS |
| 07 54 19 | POLYVINYL-CHLORIDE (PVC) ROOFING |
| 07 62 00 | SHEET METAL FLASHING AND TRIM |
| 07 72 00 | ROOF ACCESSORIES |
| 07 84 13 | PENETRATION FIRESTOPPING |
| 07 84 43 | JOINT FIRESTOPPING |
| 07 92 00 | JOINT SEALANTS |
| DIVISION 09 - FINISHES |  |
| 09 91 13 | EXTERIOR PAINTING |
| 09 91 23 | INTERIOR PAINTING |
| DIVISION 10 - SPECIALTIES |  |
| 10 44 13 | FIRE PROTECTION CABINETS |
| 10 44 16 | FIRE EXTINGUISHERS |
| DIVISION 26 - ELECTRICAL |  |
| 26 05 13 | MEDIUM-VOLTAGE CABLES |
| 26 05 19 | LOW-VOLTAGE ELECTRICAL POWER CONDUCTORS AND CABLES |
| 26 05 26 | GROUNDING AND BONDING FOR ELECTRICAL SYSTEMS |
| 26 05 29 | HANGERS AND SUPPORTS FOR ELECTRICAL SYSTEMS |
| 26 05 33 | RACEWAYS AND BOXES FOR ELECTRICAL SYSTEMS |
| 26 05 43 | UNDERGROUND DUCTS AND RACEWAYS FOR ELECTRICAL SYSTEMS |
| 26 05 44 | SLEEVES AND SLEEVE SEALS FOR ELECTRICAL RACEWAYS AND CABLING |
| 26 05 48.16 | SEISMIC CONTROLS FOR ELECTRICAL SYSTEMS |
| 26 05 53 | IDENTIFICATION FOR ELECTRICAL SYSTEMS |
| 26 05 73.13 | SHORT-CIRCUIT STUDIES |
| 26 05 73.16 | COORDINATION STUDIES |
| 26 05 73.19 | ARC-FLASH HAZARD ANALYSIS |
| 26 08 00 | COMMISSIONING OF ELECTRICAL SYSTEMS |
| 26 09 13 | ELECTRICAL POWER MONITORING AND CONTROL |
| 26 09 23 | LIGHTING CONTROL DEVICES |
| 26 12 16 | DRY-TYPE, MEDIUM-VOLTAGE TRANSFORMERS |
| 26 13 23 | MEDIUM-VOLTAGE, METAL-ENCLOSED SWITCHGEAR |
| 26 22 00 | LOW-VOLTAGE TRANSFORMERS |
| 26 24 13 | SWITCHBOARDS |
| 26 24 16 | PANELBOARDS |
| 26 27 13 | ELECTRICITY METERING |
| 26 27 26 | WIRING DEVICES |
| 26 28 13 | FUSES |
| 26 28 16 | ENCLOSED SWITCHES AND CIRCUIT BREAKERS |
| 26 35 33 | POWER FACTOR CORRECTION EQUIPMENT |
| 26 43 13 | SURGE PROTECTION FOR LOW-VOLTAGE ELECTRICAL POWER CIRCUITS |
| 26 51 19 | LED INTERIOR LIGHTING |
| 26 56 19 | LED EXTERIOR LIGHTING |
| 26 60 XX | BATTERY ENERGY STORAGE SYSTEM |
| DIVISION 27 - COMMUNICATIONS |  |
| 27 05 26 | GROUNDING AND BONDING FOR COMMUNICATIONS SYSTEMS |
| 27 05 28 | PATHWAYS FOR COMMUNICATIONS SYSTEMS |
| 27 05 44 | SLEEVES AND SLEEVE SEALS FOR COMMUNICATIONS PATHWAYS AND CABLING |
| 27 05 53 | IDENTIFICATION FOR COMMUNICATIONS SYSTEMS |
| 27 11 00 | COMMUNICATIONS EQUIPMENT ROOM FITTINGS |
| 27 11 16 | COMMUNICATIONS RACKS, FRAMES AND ENCLOSURES |
| 27 13 13 | COMMUNICATIONS COPPER BACKBONE CABLING |
| 27 13 23 | COMMUNICATIONS OPTICAL FIBER BACKBONE CABLING |
| 27 13 33 | COMMUNICATIONS COAXIAL BACKBONE CABLING |
| 27 15 13 | COMMUNICATIONS COPPER HORIZONTAL CABLING |
| 27 15 23 | COMMUNICATIONS OPTICAL FIBER HORIZONTAL CABLING |
| 27 15 33 | COMMUNICATIONS COAXIAL HORIZONTAL CABLING |
| DIVISION 31 - EARTHWORK |  |
| 31 10 00 | SITE CLEARING |
| 31 20 00 | EARTH MOVING |
| 31 23 19 | DEWATERING |
| 31 50 00 | EXCAVATION SUPPORT AND PROTECTION |
| 31 63 29 | DRILLED CONCRETE PIERS AND SHAFTS |
| DIVISION 32 - EXTERIOR IMPROVEMENTS |  |
| 32 12 16 | ASPHALT PAVING |
| 32 13 13 | CONCRETE PAVING |
| 32 13 73 | CONCRETE PAVING JOINT SEALANTS |
| 32 14 00 | UNIT PAVING |
| 32 15 40.01 | DECOMPOSED GRANITE SURFACING |
| 32 17 13 | PARKING BUMPERS |
| 32 17 23 | PAVEMENT MARKINGS |
| 32 91 13 | SOIL PREPARATION |
| DIVISION 33 - UTILITIES |  |
| 33 05 00 | COMMON WORK RESULTS FOR UTILITIES |
| 33 42 00 | STORMWATER CONVEYANCE |
| 33 46 00 | SUBDRAINAGE |

END OF TABLE OF CONTENTS

Retain this notice in all Sections of Project Manual.

San Diego Unified School District Guide Specifications

Document Version: August 2021