MasterSpec 03/16

SECTION 01 42 00

REFERENCES

Revise this Section by deleting and inserting text to meet Project-specific requirements.

Verify that Section titles referenced in this Section are correct for this Project's Specifications; Section titles may have changed.

GENERAL

RELATED DOCUMENTS

MANDATORY REQUIREMENT:  Retain this article in all Sections of Project Manual.

Drawings and general provisions of the Contract, including General and Supplementary Conditions and other Division 01 Specification Sections, apply to this Section.

DEFINITIONS

General: Basic Contract definitions are included in the General Conditions of the Contract.

"Approved": When used to convey Architect's action on Contractor's submittals, applications, and requests, "approved" is limited to Architect's duties and responsibilities as stated in the General Conditions of the Contract.

"Directed": A command or instruction by Architect. Other terms including "requested," "authorized," "selected," "required," and "permitted" have the same meaning as "directed."

"Indicated": Requirements expressed by graphic representations or in written form on Drawings, in Specifications, and in other Contract Documents. Other terms including "shown," "noted," "scheduled," and "specified" have the same meaning as "indicated."

"Regulations": Laws, ordinances, statutes, and lawful orders issued by authorities having jurisdiction, and rules, conventions, and agreements within the construction industry that control performance of the Work.

"Furnish": Supply and deliver to Project site, ready for unloading, unpacking, assembly, installation, and similar operations.

"Install": Unload, temporarily store, unpack, assemble, erect, place, anchor, apply, work to dimension, finish, cure, protect, clean, and similar operations at Project site.

"Provide": Furnish and install, complete in place and ready for the intended use.

“Includes”, “Including”, and variations thereof: “Includes, but not limited to,…”

INDUSTRY STANDARDS

Applicability of Standards: Unless the Contract Documents include more stringent requirements, applicable construction industry standards have the same force and effect as if bound or copied directly into the Contract Documents to the extent referenced. Such standards are made a part of the Contract Documents by reference.

Publication Dates: Comply with standards in effect as of date of the Contract Documents unless otherwise indicated.

Copies of Standards: Each entity engaged in construction on Project should be familiar with industry standards applicable to its construction activity. Copies of applicable standards are not bound with the Contract Documents.

Where copies of standards are needed to perform a required construction activity, obtain copies directly from publication source.

For complete titles of individual Industry Standards, see United Master Reference List (UMRL) at https://www.wbdg.org/ccb/DOD/UMRL/UMRL.pdf.

For titles of standards not included in the UMRL, see supplemental listing immediately following this section.

ABBREVIATIONS AND ACRONYMS

The lists in this article are provided for the reader’s convenience.  This information is believed to be accurate as of the District Guide Specifications Section Version date at the end of this section, however, it is subject to change without notice.

Industry Organizations: Where abbreviations and acronyms are used in Specifications or other Contract Documents, they shall mean the recognized name of the entities in the following list. Where duplicates occur, use according to appropriate context and subject matter.  This information is subject to change and is believed to be accurate as of the date of the Contract Documents.

Retain entries below if referenced in Specifications. List has been checked against information obtained from the Internet; it includes only those organizations referenced in the Section Text in MasterSpec Sections. Insert other abbreviations, acronyms, and names used in Specifications.

AABC - Associated Air Balance Council; www.aabc.com.

AAMA - American Architectural Manufacturers Association; www.aamanet.org.

AAPFCO - Association of American Plant Food Control Officials; www.aapfco.org.

AASHTO - American Association of State Highway and Transportation Officials; www.transportation.org.

AATCC - American Association of Textile Chemists and Colorists; www.aatcc.org.

ABMA - American Bearing Manufacturers Association; www.americanbearings.org.

ABMA - American Boiler Manufacturers Association; www.abma.com.

ACI - American Concrete Institute; (Formerly: ACI International); www.concrete.org.

ACPA - American Concrete Pipe Association; www.concrete-pipe.org.

AEIC - Association of Edison Illuminating Companies, Inc. (The); www.aeic.org.

AF&PA - American Forest & Paper Association; www.afandpa.org.

AGA - American Gas Association; www.aga.org.

AHAM - Association of Home Appliance Manufacturers; www.aham.org.

AHRI - Air-Conditioning, Heating, and Refrigeration Institute (The); www.ahrinet.org.

AI - Asphalt Institute; www.asphaltinstitute.org.

AIA - American Institute of Architects (The); www.aia.org.

AISC - American Institute of Steel Construction; www.aisc.org.

AISI - American Iron and Steel Institute; www.steel.org.

AITC - American Institute of Timber Construction; www.aitc-glulam.org.

AMCA - Air Movement and Control Association International, Inc.; www.amca.org.

ANSI - American National Standards Institute; www.ansi.org.

AOSA - Association of Official Seed Analysts, Inc.; www.aosaseed.com.

APA - APA - The Engineered Wood Association; www.apawood.org.

APA - Architectural Precast Association; www.archprecast.org.

API - American Petroleum Institute; www.api.org.

ARI - Air-Conditioning & Refrigeration Institute; (See AHRI).

ARI - American Refrigeration Institute; (See AHRI).

ARMA - Asphalt Roofing Manufacturers Association; www.asphaltroofing.org.

ASCE - American Society of Civil Engineers; www.asce.org.

ASCE/SEI - American Society of Civil Engineers/Structural Engineering Institute; (See ASCE).

ASHRAE - American Society of Heating, Refrigerating and Air-Conditioning Engineers; www.ashrae.org.

ASME - ASME International; (American Society of Mechanical Engineers); www.asme.org.

ASSE - American Society of Safety Engineers (The); www.asse.org.

ASSE - American Society of Sanitary Engineering; www.asse-plumbing.org.

ASTM - ASTM International (formerly American Society for Testing and Materials); www.astm.org.

ATIS - Alliance for Telecommunications Industry Solutions; www.atis.org.

AWEA - American Wind Energy Association; www.awea.org.

AWI - Architectural Woodwork Institute; www.awinet.org.

AWMAC - Architectural Woodwork Manufacturers Association of Canada; www.awmac.com.

AWPA - American Wood Protection Association; www.awpa.com.

AWS - American Welding Society; www.aws.org.

AWWA - American Water Works Association; www.awwa.org.

BHMA - Builders Hardware Manufacturers Association; www.buildershardware.com.

BIA - Brick Industry Association (The); www.gobrick.com.

BICSI – Building Industry Consulting Services International; www.bicsi.org.

BIFMA - BIFMA International; (Business and Institutional Furniture Manufacturer's Association); www.bifma.org.

BISSC - Baking Industry Sanitation Standards Committee; www.bissc.org.

BS - British Standard

BWF - Badminton World Federation; (Formerly: International Badminton Federation); www.bissc.org.

CDA - Copper Development Association; www.copper.org.

CE - Conformite Europeenne; http://ec.europa.eu/growth/single-market/ce-marking/

CEA - Canadian Electricity Association; www.electricity.ca.

CEA - Consumer Electronics Association; www.ce.org.

CFFA - Chemical Fabrics and Film Association, Inc.; www.chemicalfabricsandfilm.com.

CFSEI - Cold-Formed Steel Engineers Institute; www.cfsei.org.

CGA - Compressed Gas Association; www.cganet.com.

CIF – California Interscholastic Federation

CIMA - Cellulose Insulation Manufacturers Association; www.cellulose.org.

CISCA - Ceilings & Interior Systems Construction Association; www.cisca.org.

CISPI - Cast Iron Soil Pipe Institute; www.cispi.org.

CLFMI - Chain Link Fence Manufacturers Institute; www.chainlinkinfo.org.

CPA - Composite Panel Association; www.pbmdf.com.

CRI - Carpet and Rug Institute (The); www.carpet-rug.org.

CRRC - Cool Roof Rating Council; www.coolroofs.org.

CRSI - Concrete Reinforcing Steel Institute; www.crsi.org.

CSA - Canadian Standards Association; www.csa.ca.

CSA - CSA International; (Formerly: IAS - International Approval Services); www.csa-international.org.

CSI - Construction Specifications Institute (The); www.csinet.org.

CSSA – Certified Steel Stud Association; www.certifiedsteelstud.com

CSSB - Cedar Shake & Shingle Bureau; www.cedarbureau.org.

CTI - Cooling Technology Institute; (Formerly: Cooling Tower Institute); www.cti.org.

CWC - Composite Wood Council; (See CPA).

DASMA - Door and Access Systems Manufacturers Association; www.dasma.com.

DHI - Door and Hardware Institute; www.dhi.org.

ECA - Electronic Components Association; (See ECIA).

ECAMA - Electronic Components Assemblies & Materials Association; (See ECIA).

ECIA - Electronic Components Industry Association; www.eciaonline.org.

EIA - Electronic Industries Alliance; (See TIA).

EIMA - EIFS Industry Members Association; www.eima.com.

EJMA - Expansion Joint Manufacturers Association, Inc.; www.ejma.org.

EN - European Standard

ESD - ESD Association; (Electrostatic Discharge Association); www.esda.org.

ESTA - Entertainment Services and Technology Association; (See PLASA).

ETL - Intertek (See Intertek); www.intertek.com.

EVO - Efficiency Valuation Organization; www.evo-world.org.

FCI - Fluid Controls Institute; www.fluidcontrolsinstitute.org.

FIBA - Federation Internationale de Basketball; (The International Basketball Federation); www.fiba.com.

FIVB - Federation Internationale de Volleyball; (The International Volleyball Federation); www.fivb.org.

FM Approvals - FM Approvals LLC; www.fmglobal.com.

FM Global - FM Global; (Formerly: FMG - FM Global); www.fmglobal.com.

FRSA - Florida Roofing, Sheet Metal & Air Conditioning Contractors Association, Inc.; www.floridaroof.com.

FSA - Fluid Sealing Association; www.fluidsealing.com.

FSC - Forest Stewardship Council U.S.; www.fscus.org.

GA - Gypsum Association; www.gypsum.org.

GANA - Glass Association of North America; www.glasswebsite.com.

GRI – Geosynthetic Institute

GS - Green Seal; www.greenseal.org.

HI - Hydraulic Institute; www.pumps.org.

HI/GAMA - Hydronics Institute/Gas Appliance Manufacturers Association; (See AHRI).

HMMA - Hollow Metal Manufacturers Association; (See NAAMM).

HPVA - Hardwood Plywood & Veneer Association; www.hpva.org.

HPW - H. P. White Laboratory, Inc.; www.hpwhite.com.

IAPSC - International Association of Professional Security Consultants; www.iapsc.org.

IAS - International Accreditation Service; www.iasonline.org.

IAS - International Approval Services; (See CSA).

ICBO - International Conference of Building Officials; (See ICC).

ICC - International Code Council; www.iccsafe.org.

ICEA - Insulated Cable Engineers Association, Inc.; www.icea.net.

ICPA - International Cast Polymer Alliance; www.icpa-hq.org.

ICRI - International Concrete Repair Institute, Inc.; www.icri.org.

IEC - International Electrotechnical Commission; www.iec.ch.

IEEE - Institute of Electrical and Electronics Engineers, Inc. (The); www.ieee.org.

IES - Illuminating Engineering Society; (Formerly: Illuminating Engineering Society of North America); www.ies.org.

IESNA - Illuminating Engineering Society of North America; (See IES).

IEST - Institute of Environmental Sciences and Technology; www.iest.org.

IGMA - Insulating Glass Manufacturers Alliance; www.igmaonline.org.

IGSHPA - International Ground Source Heat Pump Association; www.igshpa.okstate.edu.

ILI - Indiana Limestone Institute of America, Inc.; www.iliai.com.

Intertek - Intertek Group; (Formerly: ETL SEMCO; Intertek Testing Service NA); www.intertek.com.

IPEMA - International Playground Equipment Manufacturers Association

ISA - International Society of Automation (The); (Formerly: Instrumentation, Systems, and Automation Society); www.isa.org.

ISAS - Instrumentation, Systems, and Automation Society (The); (See ISA).

ISFA - International Surface Fabricators Association; (Formerly: International Solid Surface Fabricators Association); www.isfanow.org.

ISO - International Organization for Standardization; www.iso.org.

ISSFA - International Solid Surface Fabricators Association; (See ISFA).

ITU - International Telecommunication Union; www.itu.int/home.

KCMA - Kitchen Cabinet Manufacturers Association; www.kcma.org.

LMA - Laminating Materials Association; (See CPA).

LPI - Lightning Protection Institute; www.lightning.org.

MBMA - Metal Building Manufacturers Association; www.mbma.com.

MCA - Metal Construction Association; www.metalconstruction.org.

MFMA - Maple Flooring Manufacturers Association, Inc.; www.maplefloor.org.

MFMA - Metal Framing Manufacturers Association, Inc.; www.metalframingmfg.org.

MHIA - Material Handling Industry of America; www.mhia.org.

MIA - Marble Institute of America; www.marble-institute.com.

MMPA - Moulding & Millwork Producers Association; www.wmmpa.com.

MPEG - Moving Picture Experts Group

MPI - Master Painters Institute; www.paintinfo.com.

MSS - Manufacturers Standardization Society of The Valve and Fittings Industry Inc.; www.mss-hq.org.

NAAMM - National Association of Architectural Metal Manufacturers; www.naamm.org.

NACE - NACE International; (National Association of Corrosion Engineers International); www.nace.org.

NADCA - National Air Duct Cleaners Association; www.nadca.com.

NAIMA - North American Insulation Manufacturers Association; www.naima.org.

NBGQA - National Building Granite Quarries Association, Inc.; www.nbgqa.com.

NBI - New Buildings Institute; www.newbuildings.org.

NCAA - National Collegiate Athletic Association (The); www.ncaa.org.

NCMA - National Concrete Masonry Association; www.ncma.org.

NEBB - National Environmental Balancing Bureau; www.nebb.org.

NECA - National Electrical Contractors Association; www.necanet.org.

NeLMA - Northeastern Lumber Manufacturers Association; www.nelma.org.

NEMA - National Electrical Manufacturers Association; www.nema.org.

NETA - InterNational Electrical Testing Association; www.netaworld.org.

NFHS - National Federation of State High School Associations; www.nfhs.org.

NFPA - National Fire Protection Association; www.nfpa.org.

NFPA - NFPA International; (See NFPA).

NFRC - National Fenestration Rating Council; www.nfrc.org.

NHLA - National Hardwood Lumber Association; www.nhla.com.

NICET - National Institute for Certification in Engineering Technologies

NLGA - National Lumber Grades Authority; www.nlga.org.

NOFMA - National Oak Flooring Manufacturers Association; (See NWFA).

NOMMA - National Ornamental & Miscellaneous Metals Association; www.nomma.org.

NRPA: National Recreation and Park Association; www.nrpa.org

NRCA - National Roofing Contractors Association; www.nrca.net.

NRMCA - National Ready Mixed Concrete Association; www.nrmca.org.

NRTL - Nationally Recognized Testing Laboratory

NSF - NSF International (formerly National Sanitation Foundation); www.nsf.org.

NSPE - National Society of Professional Engineers; www.nspe.org.

NSSGA - National Stone, Sand & Gravel Association; www.nssga.org.

NTMA - National Terrazzo & Mosaic Association, Inc. (The); www.ntma.com.

NWFA - National Wood Flooring Association; www.nwfa.org.

PCI - Precast/Prestressed Concrete Institute; www.pci.org.

PDI - Plumbing & Drainage Institute; www.pdionline.org.

PLASA - PLASA; (Formerly: ESTA - Entertainment Services and Technology Association); www.plasa.org.

RCSC - Research Council on Structural Connections; www.boltcouncil.org.

RFCI - Resilient Floor Covering Institute; www.rfci.com.

RIS - Redwood Inspection Service; www.redwoodinspection.com.

SAE - SAE International; www.sae.org.

SATA-IO - Serial ATA International Organization

SCTE - Society of Cable Telecommunications Engineers; www.scte.org.

SDI - Steel Deck Institute; www.sdi.org.

SDI - Steel Door Institute; www.steeldoor.org.

SEFA - Scientific Equipment and Furniture Association (The); www.sefalabs.com.

SEI/ASCE - Structural Engineering Institute/American Society of Civil Engineers; (See ASCE).

SFIA - Steel Framing Industry Association; https://sfia.memberclicks.net

SHRP – Strategic Highway Research Program

SIA - Security Industry Association; www.siaonline.org.

SJI - Steel Joist Institute; www.steeljoist.org.

SMA - Screen Manufacturers Association; www.smainfo.org.

SMACNA - Sheet Metal and Air Conditioning Contractors' National Association; www.smacna.org.

SMPTE - Society of Motion Picture and Television Engineers; www.smpte.org.

SPFA - Spray Polyurethane Foam Alliance; www.sprayfoam.org.

SPIB - Southern Pine Inspection Bureau; www.spib.org.

SPRI - Single Ply Roofing Industry; www.spri.org.

SRCC - Solar Rating & Certification Corporation; www.solar-rating.org.

SSINA - Specialty Steel Industry of North America; www.ssina.com.

SSMA – Steel Stud Manufacturers Association; www.ssma.com

SSPC - The Society for Protective Coatings; www.sspc.org.

SSSA - Soil Science Society of America; https://www.soils.org.

STI - Steel Tank Institute; www.steeltank.com.

SWI - Steel Window Institute; www.steelwindows.com.

SWPA - Submersible Wastewater Pump Association; www.swpa.org.

TCA - Tilt-Up Concrete Association; www.tilt-up.org.

TCNA - Tile Council of North America, Inc.; www.tileusa.com.

TEMA - Tubular Exchanger Manufacturers Association, Inc.; www.tema.org.

TIA - Telecommunications Industry Association (The); (Formerly: TIA/EIA - Telecommunications Industry Association/Electronic Industries Alliance); www.tiaonline.org.

TIA/EIA - Telecommunications Industry Association/Electronic Industries Alliance; (See TIA).

TMS - The Masonry Society; www.masonrysociety.org.

TPI - Truss Plate Institute; www.tpinst.org.

TPI - Turfgrass Producers International; www.turfgrasssod.org.

TRI - Tile Roofing Institute; www.tileroofing.org.

UBPPA - Uni-Bell PVC Pipe Association; www.uni-bell.org

UL - Underwriters Laboratories Inc.; www.ul.com.

UNI - Uni-Bell PVC Pipe Association; www.uni-bell.org.

USAV - USA Volleyball; www.usavolleyball.org.

USCC - U.S. Composting Council; https://compostingcouncil.org.

USGBC - U.S. Green Building Council; www.usgbc.org.

USITT - United States Institute for Theatre Technology, Inc.; www.usitt.org.

WASTEC - Waste Equipment Technology Association; www.wastec.org.

WCLIB - West Coast Lumber Inspection Bureau; www.wclib.org.

WCMA - Window Covering Manufacturers Association; www.wcmanet.org.

WDMA - Window & Door Manufacturers Association; www.wdma.com.

WI - Woodwork Institute; www.wicnet.org.

WSRCA - Western States Roofing Contractors Association; www.wsrca.com.

WWPA - Western Wood Products Association; www.wwpa.org.

Code Agencies: Where abbreviations and acronyms are used in Specifications or other Contract Documents, they shall mean the recognized name of the entities in the following list. This information is believed to be accurate as of the date of the Contract Documents.

Retain entries below.   Insert additional abbreviations, acronyms, and names used in Specifications.

IAPMO - International Association of Plumbing and Mechanical Officials; www.iapmo.org.

ICC - International Code Council; www.iccsafe.org.

ICC-ES - ICC Evaluation Service, LLC; www.icc-es.org.

Federal Government Agencies: Where abbreviations and acronyms are used in Specifications or other Contract Documents, they shall mean the recognized name of the entities in the following list. Information is subject to change and is up to date as of the date of the Contract Documents.

COE - Army Corps of Engineers; www.usace.army.mil.

CPSC - Consumer Product Safety Commission; www.cpsc.gov.

DOC - Department of Commerce; National Institute of Standards and Technology; www.nist.gov.

DOD - Department of Defense; www.quicksearch.dla.mil.

DOE - Department of Energy; www.energy.gov.

EPA - Environmental Protection Agency; www.epa.gov.

FAA - Federal Aviation Administration; www.faa.gov.

FG - Federal Government Publications; www.gpo.gov.

GSA - General Services Administration; www.gsa.gov.

HUD - Department of Housing and Urban Development; www.hud.gov.

LBL - Lawrence Berkeley National Laboratory; Environmental Energy Technologies Division; www.eetd.lbl.gov.

OSHA - Occupational Safety & Health Administration; www.osha.gov.

SD - Department of State; www.state.gov.

TRB - Transportation Research Board; National Cooperative Highway Research Program; The National Academies; www.trb.org.

USDA - Department of Agriculture; Agriculture Research Service; U.S. Salinity Laboratory; www.ars.usda.gov.

USDA - Department of Agriculture; Rural Utilities Service; www.usda.gov.

USDOJ - Department of Justice; Office of Justice Programs; National Institute of Justice; www.ojp.usdoj.gov.

USP - U.S. Pharmacopeial Convention; www.usp.org.

USPS - United States Postal Service; www.usps.com.

Standards and Regulations: Where abbreviations and acronyms are used in Specifications or other Contract Documents, they shall mean the recognized name of the standards and regulations in the following list. This information is subject to change and is believed to be accurate as of the date of the Contract Documents.

Retain entries below. Insert additional abbreviations, acronyms, and names, such as standards and regulations from other Federal agencies, used in Specifications.

ADA & ABA AG – Americans with Disabilities Act and Architectural Barriers Act Accessibility Guidelines; https://www.access-board.gov/attachments/article/412/ada-aba.pdf.

CBC -  California Building Code; www.bsc.ca.gov/Home/Current2013Codes.aspx.

CFR - Code of Federal Regulations; Available from Government Printing Office; www.gpo.gov/fdsys.

DOD - Department of Defense; Military Specifications and Standards; Available from DLA Document Services; www.quicksearch.dla.mil.

DSCC - Defense Supply Center Columbus; (See FS).

FED-STD - Federal Standard; (See FS).

FS - Federal Specification; Available from DLA Document Services; www.quicksearch.dla.mil.

Available from Defense Standardization Program; www.dsp.dla.mil.

Available from General Services Administration; www.gsa.gov.

Available from National Institute of Building Sciences/Whole Building Design Guide; www.wbdg.org/ccb.

MILSPEC - Military Specification and Standards; (See DOD).

USAB - United States Access Board; www.access-board.gov.

USATBCB - U.S. Architectural & Transportation Barriers Compliance Board; (See USAB).

State Government Agencies: Where abbreviations and acronyms are used in Specifications or other Contract Documents, they shall mean the recognized name of the entities in the following list. This information is subject to change and is believed to be accurate as of the date of the Contract Documents.

Retain entries below. List has been checked against information obtained from the Internet; it includes only those agencies referenced in the Section Text in MasterSpec Sections. Insert additional abbreviations, acronyms, and names, such as state highway departments, used in Specifications.

CalTrans; State of California; Department of Transportation; www.dot.ca.gov

CBHF; State of California; Department of Consumer Affairs; Bureau of Electronic and Appliance Repair, Home Furnishings and Thermal Insulation; www.bearhfti.ca.gov.

CCR; California Code of Regulations; Office of Administrative Law; California Title 24 Energy Code; www.calregs.com.

CDHS; California Department of Health Services; (See CDPH).

CDPH; California Department of Public Health; Indoor Air Quality Program; www.cal-iaq.org.

CPUC; California Public Utilities Commission; www.cpuc.ca.gov.

DSA; Division of the State Architect; www.dgs.ca.gov.

DTSC: Department of Toxic Substances Control; www.dtsc.ca.gov.

SDAPCD; San Diego Air Pollution Control district; www.sdapcd.org.

PRODUCTS (Not Used)

EXECUTION

SUPPLEMENTAL LISTING OF INDUSTRY STANDARDS

The list immediately following this section is provided for the reader’s convenience.  It is intended to be reasonably thorough, however, it does not purport to be comprehensive.

END OF SECTION 01 42 00

Retain this notice in all Sections of Project Manual.

San Diego Unified School District Guide Specifications

Document Version: February 14, 2022 Bulletin

| SUPPLEMENT to 01 42 00 REFERENCES San Diego Unified School District Guide Specifications May 2016 Edition |  |
| --- | --- |
| ACI |  |
| 216.1 | Determining Fire Resistance of Concrete and Masonry Construction Assemblies |
| 318 | 318-14: Building Code Requirements for Structural Concrete and Commentary |
| 350/350R | Code Req’ts for Environmental Engineering Concrete Structures and Commentary |
| 530-11 | Building Code Requirements and Specification for Masonry Structures and Related Commentaries (see also TMS 402 & ASCE 5-11) |
| 503.3 | Producing a Skid-Resistant Surface on Concrete by the Use of Epoxy and Aggregate |
| AAPFCO |  |
| SUIP #25 | Statements for Uniform Interpretation and Policy “The Heavy Metal Rule” Calculator |
| AASHTO |  |
| LTS-6-M | Structural Supports for Highway Signs, Luminaires, and Traffic Signals |
| M 251 | Plain and Laminated Elastomeric Bridge Bearings |
| C78.42 | High Pressure Sodium Lamps |
| C78.43 | Single Ended Metal Halide Lamps |
| C 79.1 | Nomenclature for Glass Bulbs Intended for Use with Electric Lamps |
| C 80.1 | Galvanized Rigid Conduit |
| C 80.3 | Steel Electric Metallic Tubing |
| C 80.5 | Electrical Rigid Aluminum Conduit |
| C 80.6 | Electrical Intermediate Metal Conduit |
| C 81.61 | Bases (Caps) for Electric Lamps |
| C 82.4 | Ballasts for High-Intensity-Discharge & Low Pressure Sodium Lamps |
| C 82.11 | High Frequency Fluorescent Lamp Ballasts |
| C136.31 | Roadway and Area Lighting Equipment – Luminaire Vibration |
| E1.24 | Entertainment Technology – Dimensional Requirements for Stage Pin Connectors |
| O5.2 | Wood Poles |
| T 245 | Resistance to Plastic Flow of Bituminous Mixtures Using Marshall Apparatus |
| AIHA |  |
| ELPAT | Environmental Lead Proficiency Analytical Testing Program |
| AISI |  |
| 1018 | Mild/Low Carbon Steel |
| 1019 | Carbon Steel (UNS G10190) |
| 1020 | Low Carbon/Low Tensile Steel |
| ANSI |  |
| C 62.41 | Surge Voltage In Low Voltage Ac Power Circuits |
| A 108.10 | Installation of Grout in Tile Work |
| A 118.4 | Installation of Ceramic Tile |
| A 118.6 | Ceramic Tile Grouts |
| ASCE |  |
| 6 | Specification for Masonry Construction (see also ACI 530.1 & TMS 602) |
| 5-11 | Building Code Requirements and Specification for Masonry Structures and Related Commentaries (see also TMS 402 & ACI 530) |
| ASME |  |
| B40.1 | Same as B40.100 |
| ASME B 15.1 | Safety Standard for Mechanical Power |
| ASTM |  |
| A74 | Cast Iron Soil Pipe and Fittings |
| A126 | Gray Iron Castings for Valves, Flanges, and Pipe Fittings |
| A496 | Steel Wire, Deformed, for Concrete Reinforcement |
| A497 | Withdrawn. Replaced by ASTM A1064 Standard Specification for Carbon-Steel Wire and Welded Wire Reinforcement, Plain and Deformed, for Concrete |
| A510 | Wire Rods and Coarse Round Wire, Carbon Steel, and Alloy Steel |
| A564 | Hot-Rolled and Cold-Finished Age-Hardening Stainless Steel Bars and Shapes |
| A674 | Polyethylene Encasement for Ductile Iron Pipe for Water or Other Liquids |
| A775 | Epoxy-Coated Reinforcing Steel Bars |
| A780 | Repair of Damaged and Uncoated Areas of Hot-Dip Galvanized Coatings |
| A817 | Metallic-Coated Steel Wire for Chain-Link Fence Fabric and Marcelled Tension Wire |
| A929 | Steel Sheet, Metallic-Coated by the Hot-Dip Process for Corrugated Steel Pipe |
| B8 | Concentric-Lay-Stranded Copper Conductors, Hard, Medium-Hard, or Soft |
| B16 | Free-Cutting Brass Rod, Bar and Shapes for Use in Screw Machines |
| B29 | Refined Lead |
| B99 | Copper-Silicon Alloy Wire for General Applications |
| B660 | Packaging/Packing of Aluminum and Magnesium Products |
| B783 | Materials for Ferrous Powder Metallurgy (PM) Structural Parts |
| C219 | Standard Terminology Relating to Hydraulic Cement |
| C858 | Underground Precast Concrete Utility Structures |
| C890 | Minimum Structural Design Loading for Monolithic or Sectional Precast Concrete Water and Wastewater Structures |
| C902 | Pedestrian and Light Traffic Paving Brick |
| C913 | Precast Concrete Water and Wastewater Structures |
| C1028 | Standard Test Method for Determining the Static Coefficient of Friction of Ceramic Tile and Other Like Surfaces by the Horizontal Dynamometer Pull-Meter Method (Withdrawn 2014) |
| C1093 | Accreditation of Testing Agencies for Masonry |
| C1173 - 10 | Flexible Transition Couplings for Underground Piping Systems |
| C1193 | Use of Joint Sealants |
| C1277 | Shielded Couplings Joining Hubless Cast Iron Soil Pipe and Fittings |
| C1314 | Compressive Strength of Masonry Prisms |
| C1436 | Materials for Shotcrete |
| C1479 | Installation of Precast Concrete Sewer, Storm Drain, & Culvert Pipe |
| C1540 | Heavy Duty Shielded Couplings Joining Hubless Cast Iron Soil Pipe and Fittings |
| C1582 | Admixtures to Inhibit Chloride-Induced Corrosion of Reinforcing Steel in Concrete |
| C1586 | Quality Assurance of Mortars |
| C1623 | Manufactured Concrete Masonry Lintels |
| D1816 | Dielectric Breakdown Voltage of Insulating Oils of Petroleum Origin Using VDE Electrodes |
| D2751 | Acrylonitrile-Butadiene-Styrene (ABS) Sewer Pipe and Fittings |
| D3549 | Thickness or Height of Compacted Bituminous Paving Mixture Specimens |
| D3963 | Fabrication and Jobsite Handling of Epoxy-Coated Steel Reinforcing Bars |
| D3977 | Sediment Concentration in Water Samples |
| D4632 | Grab Breaking Load and Elongation of Geotextiles |
| D4829 | Expansion Index of Soils |
| D5329 | Test Methods for Sealants and Fillers, Hot-Applied, for Joints and Cracks in Asphaltic and Portland Cement Concrete Pavements |
| D5926 | Poly Vinyl Chloride (PVC) Gaskets for Drain, Waste, and Vent (DWV), Sewer, Sanitary, and Storm Plumbing Systems |
| D6916 | Shear Strength Between Segmental Concrete Units (Modular Concrete Blocks) |
| D769 | Black Synthetic Iron Oxide |
| E1444 | Magnetic Particle Testing |
| E492 | Impact Sound Transmission Through Floor-Ceiling Assemblies Using the Tapping Machine |
| E989 | Determination of Impact Insulation Class (IIC) |
| F606 | Mechanical Properties of Externally and Internally Threaded Fasteners, Washers, Direct Tension Indicators, and Rivets |
| F900 | Industrial and Commercial Swing Gates |
| F934 | Standard Colors for Polymer-Coated Chain Link Fence Materials |
| F969 | Construction of Chain-Link Tennis Court Fence |
| F1136 | Zinc/Aluminum Corrosion Protective Coatings for Fasteners |
| F1664 | Poly(Vinyl Chloride) (PVC)-Coated Steel Tension Wire Used with Chain-Link Fence |
| F1668 | Construction Procedures for Buried Plastic Pipe |
| F1936 | Impact Attenuation of Turf Playing Systems as Measured in the Field |
| F2200 | Automated Vehicular Gate Construction |
| F2223 | Playground Surfacing |
| F2898 | Permeability of Synthetic Turf Sports Field Base Stone and Surface System by Non-confined Area Flood Test Method |
| H 35.1 | Wire Rods and Coarse Round Wire, Aluminum Material: Alloy 6063-T6 |
| AWPA |  |
| UC4A | Use Category System: User Specification for Treated Wood |
| AWWA |  |
| C219 | Bolted, Sleeve-Type Couplings for Plain-End Pipe |
| C506 | Backflow Prevention Devices - Reduced Pressure Principle & Double Check Valve Types |
| M41 | Ductile-Iron Pipe and Fittings |
| CA AB | California Assembly Bill |
| AB 1953 | Re: Lead-free plumbing |
| CALTRANS |  |
| Test cv 227 | Evaluating Cleanness of Coarse Aggregate |
| CCR |  |
| 8 CCR 1637 | Scaffolds |
| 8 CCR 1760 | Low-Voltage Electrical Safety Orders |
| 8 CCR 1922 | Portable Fire Fighting Equipment |
| 8 CCR 2405.5 | Ground-Fault Circuit Protection-Construction Site |
| 8 CCR 3203 | Injury and Illness Prevention Program |
| 22 CCR 66261 | Identification and Listing of Hazardous Waste |
| CDPH |  |
| Form 8551 | Abatement of Lead Hazards Notification |
| CEA | (Consumer Electronics Association) |
| 310-E | Design Requirements for Cabinets, Panels, Racks, and Sub-racks |
| 542-B | Cable Television Channel Identification Plan |
| 2032 | Performance of Indoor TV Antennas |
| CFR |  |
| 29 CFR 1910.7 | Appendix A: Definition and Requirements for a Nationally Recognized Testing Laboratory |
| 29 CFR 1910.141 | Sanitation |
| 29 CFR 1910.157 | Portable Fire Extinguishers |
| 29 CFR 1910.269 | Electric Power Generation, Transmission, and Distribution |
| 29 CFR 1910.304 | Wiring Design and Protection |
| 29 CFR 1926.404 |  |
| 29 CFR 1926.58 | This standard 1926.58 was redesignated to 1926.1101 in the Federal Register, August 10, 1994, page 40964. |
| 40 CFR 257 | Criteria For Classification Of Solid Waste Disposal Facilities And Practices |
| 40 CFR 141 | National Primary Drinking Water Regulations |
| 49 CFR 171.8 | Hazardous Materials - North American Shipments - Definitions & Abbreviations |
| 49 CFR 173.155 | Limited Quantities of Class 9 Materials |
| CSA |  |
| Z245.20 | External Fusion Bond Epoxy Coating for Steel Pipe |
| C22.2 No. 137 | Electric Luminaires for Use in Hazardous Locations |
| DOD | (see also MIL) |
| DOD-P-21035B | Military Specification - Paint High Zinc Dust Content, Galvanizing Repair (Metric) |
| EN |  |
| EN 15330 | Surfaces for Sports Areas |
| EPA |  |
| Method No. 8020 | Aromatic Volatile Organics by Gas Chromatography |
| Tier 2 | Vehicle and Gasoline Sulfur Program |
| Tier 3 | Vehicle Emission and Fuel Standards Program |
| Tier 4 | Emission Standards Regarding diesel engines used in many types of Construction |
| ESTA/ AASHTO |  |
| E1.11 USITT DMX 521-A | Asynchronous Serial Digital Data Transmission Standard for Controlling Lighting Equipment and Accessories |
| FED-STD |  |
| 595 | Colors Used in Government Procurement |
| FM |  |
| Class No. 3990 | Less- or Non-Flammable Liquid Insulated Transformers |
| GRI |  |
| GG1 | Geogrid Rib Tensile Strength |
| GG2 | Geogrid Junction Strength |
| ICC |  |
| 300 | Bleachers, Folding and Telescopic Seating and Grandstands Standard |
| ICEA |  |
| CS 8 | Extruded Dielectric Shielded Power Cables |
| S 93.639 | 5-46 kV Shielded Power Cable for Use in the Transmission and Distribution of Electric Energy |
| S 95-658 | Power Cables Rated 2000 Volts or less for Distribution of Electrical Energy |
| S 97.682 | Utility Shielded Power Cables Rated 5 through 46 kV |
| T 31.610 | Longitudinal Water Penetration Resistance Tests on Blocked Conductors |
| ICRI |  |
| 310.2 | Selecting and Specifying Concrete Surface Preparation for Sealers, Coatings, Polymer Overlays, and Concrete Repair |
| IEC |  |
| 60061-1 | Lamp Caps and Holders Together With Gauges for the Control of Interchangeability and Safety |
| 60929 | AC-Supplied Electronic Ballasts for Tubular Fluorescent Lamps |
| IEEE |  |
| 18 | Shunt Power Capacitors |
| 43 | Testing Insulation Resistance of Rotating Machinery |
| 48 | Alternating Current Cable Terminations Used on Shielded Cables having Laminated Insulation |
| 81 | Measuring Earth Resistivity, Ground Impedance, and Earth Potentials of a Grounding System |
| 344 | Seismic Qualification of Equipment for Nuclear Power Generating Stations |
| 576 | Installation, Termination, and Testing of Insulated Power Cable as Used in Industrial and Commercial Applications |
| 802.1x | Port-based Network Access Control |
| 802.3af | Power over Ethernet |
| 802.11 | Telecommunications and Information Exchange between Systems – Local and Metropolitan Area Networks – Specific Requirements – Part 11: Wireless LAN Medium Access Control (MAC) and Physical Layer (PHY) Specifications |
| 802.11b | Wireless LAN Technology |
| 802.11g | Wireless Local Area Networks (WLANS) that Offers Transmission Over Relatively Short Distances at up to 543 Mbps |
| 1100 | Powering and Grounding Electronic Equipment |
| 1284 | Parallel Port Standard |
| C37.20.4 | Indoor AC Switches (1 kV to 38 kV) for Use in Metal-Enclosed Switchgear |
| C57.12.36 | Liquid-Immersed Distribution Sub-Station Transformers |
| IES |  |
| LM 5 | Photometric Measurements of Area and Sports Lighting Installations |
| LM 45 | Electrical & Photometric Measurement of General Service Incandescent Filament Lamps |
| LM 46 | Photometric Testing of Indoor Luminaires Using High Intensity Discharge or Incandescent Filament Lamps |
| LM 50 | Photometric Measurements of Roadway Lighting Installations |
| LM 52 | Photometric Measurements of Roadway Sign Installations |
| LM 64 | Photometric Measurements of Parking Areas |
| LM 72 | Directional Positioning of Photometric Data. Lighting Measurements Testing and Calculation Guides |
| LM 79 | Electrical and Photometric Measurements of Solid State Lighting Products |
| NA RP 6 | Recommended Practice for Sports and Recreational Area Lighting |
| NA RP 16 | Nomenclature and Definitions for Illuminating Engineering |
| LPI |  |
| 175 | Design, Installation, Inspection of Lightning Protection Systems |
| MFMA |  |
| 4 | Metal Framing Standards Publication 204 |
| MIL | Military Specification (see also DOD) |
| C-882E | Cloth, Duck, Cotton Or Cotton-Polyester Blend, Synthetic Rubber, Impregnated, and Laminated, Oil Resistant |
| MPEG |  |
| 4, Part 10 | Standard for Video Compression |
| NACE |  |
| 1 | Good Workmanship in Electrical Contracting |
| 101 | Installing Steel Conduits (Rigid, IMC, EMT) |
| 102 | Installing Aluminum Rigid Metal Conduit |
| 402 | Installing and Maintaining Motor Control Centers |
| 407 | Installing and Maintaining Panel Boards |
| 430 | Installing Medium-Voltage Metal-Clad Switchgear |
| NCMA |  |
| TEK 8-4A | Cleaning Concrete Masonry |
| NEMA |  |
| C 12.11 | Instrument Transformers for Revenue Metering: 10kV Bil through 350 kV (0.6 kV NSV through 69 kV NSV) |
| CP1 | Shunt Trip Capacitors |
| FB-2.10 | Fittings for Use with Non-Flexible Conduit or Tubing (Rigid Metal Conduit, Intermediate Metal Conduit) |
| FB-2.20 | Selection and Installation Guidelines for Fittings for Use with Flexible Electrical Conduit and Cable |
| FB 11 | Classified location plugs, receptacles, and connectors (Hazardous Location) |
| FG1 | Fiberglass Cable Tray Systems |
| ICS 2 | Controllers, Contactors, and Overload Relays Rated 600V |
| ICS 7 | Adjustable-Speed Drives |
| ICS 18 | Industrial Control and Systems. Motor Control Centers |
| ICS 61800-2 | Standards for Adjustable Speed Electrical Power Drive Systems |
| ICS 61800-3 | Adjustable Speed Electrical Power Drive Systems Part 3: EMC Requirements and Specific Test Methods |
| LE 4 | Recessed Luminaires, Ceiling Compatibility |
| LE 6 | Procedure for Determining Target Efficacy Ratings for Commercial, Industrial, and Residential Luminaires |
| OS-1 | Sheet-Steel Outlet Boxes, Device Boxes, Covers, and Box Supports |
| OS-2 | Non-Metallic Outlet Boxes, Device Boxes, Covers, and Box Supports |
| PB 1.1 | Installation, Operation, and Maintenance of Panel Boards Rated 600 V or less |
| PB 2.1 | Handling, Installation, Operation, and Maintenance of Dead Front Distribution Switchboards Rated 600 V or less |
| RV-3 | Application and Installation Guidelines for Flexible and Liquid-Tight Flexible Metal Conduits |
| TC 14 | Reinforced Thermosetting Resin Conduit |
| TCB 2 | Selection and Installation of Underground Non-Metallic Duct |
| TP2 | Test Method for Measuring the Energy Consumption of Distribution Transformers |
| NFPA |  |
| 250 | Enclosures for Electrical Equipment (1000 V Maximum) |
| 262 | Flame Travel and Smoke of Wires and Cables for Use in Air-Handling Spaces |
| 312 | Fire Protection of Vessels During Construction, Repair, or Lay-up |
| 508A | Industrial Control Panels |
| NICET |  |
| Levels 1&2 | Certification for Low Voltage Professionals for Installation and Maintenance of Fire Alarm Systems |
| NRDCA | National Roof Deck Contractors Association |
| NOMMA |  |
| Guideline 1 | Joint Finishes |
| RCRA | Resource Conservation and Recovery Act |
| SATA-IO |  |
| SATA Standard | Serial Advanced Technology Attachment Standard for Connecting Hard Drives into Computer Systems |
| SB460 | California Senate Bill on Lead Abatement |
| SDAPCD |  |
| Rule 67 | Metal Container, Metal Closure, and Metal Coil Coating Operations |
| Rule 67.01 | Architectural Coatings – Proposed Repeal of Existing Rule 67.0 |
| Rule 67.21 | Adhesive Material Application Operations |
| SHRP |  |
| H-348 | Asphalt Pavement Repair Manuals of Practice |
| H-349 | Concrete Pavement Repair Manuals of Practice |
| SIA |  |
| BIO-1 | Speaker Profile and Speaking Topics |
| CP-01 | False Alarm Reduction |
| DC-03 | “SIA Format” Protocol – for Alarm System Communications |
| DC-07 | Digital Communication Standard – for Central Station Equipment Communications |
| PIR-01 | Passive Infrared Motion Detectors |
| TVAC | CCTV Access Control Standard – Message Set for System Integration |
| TIA/EIA |  |
| 310D | Cabinets, Racks, Panels, and Associated Equipment |
| 492AAAD | Telecommunications Distribution Methods |
| 526-14-B | One Reference Jumper Method for Measuring Attenuation in a Structured Cabling Application |
| 529-B | Canadian Standard equivalent to TIA/EIA 568-B |
| 568-B | Cable Color Code Standard on Each End of a Straight-Through 10/100Base T Cable |
| 568-B-1 | Commercial Building Telecommunications Cabling Standard |
| 568-B.2 | Commercial Building Telecommunications Cabling Standard, Part 2: Balanced Twisted Pair Cabling Components |
| 568-B.3 | Components and Transmission Requirements for Optical Fiber Cabling |
| 569-A&B | Commercial Building Standards for Telecommunications Pathways and Spaces |
| 569-C.1 | Revised Temperature and Humidity Requirements for Telecommunications Spaces |
| 598-B | Standard for Colors. Fiber/Unit NumberS 1-9 |
| 598-C | Optical Fiber Type Identification Scheme for Color Coding or Marking |
| 604-2 | Optical Fiber Cabling Components |
| 604-2B | Fiber Optic Connector Intermateability |
| 604-3A | Simplex and Duplex Connectors. Stable Performance: o <0.2dB typical MM. o <0.15dB typical SM |
| 604-3B | Fiber Optic Connector Intermateability, Type SC and SC-APC |
| 604-12 | Optical Fiber Connector Intermateability MT-RJ |
| 606-B | Updated Labeling Standard – Adopts Identification Scheme specified in TIA/EIA 606-A |
| TMS |  |
| 402 | Building Code Requirements and Specification for Masonry Structures and Related Commentaries (see also ACI 530 & ASCE 5-11) |
| 602 | Specification for Masonry Construction (see also ACI 530.1 & ASCE 6) |
| UL |  |
| 5A | Non-Metallic Surface Raceways and Fittings |
| 6A | Rigid Metal Conduit – Aluminum, Red Brass, and Stainless Steel |
| 96A | Installation Requirements for Lightning Protection Systems |
| 651B | Requirements for Type EB and Type A extruded rigid PVC (Polyvinyl Chloride) electrical conduit and fittings |
| 717 | Ducts and Air Transfer Openings |
| 810 | Capacitors |
| 813 | Commercial Audio Equipment |
| 886 | Outlet Boxes and Fittings, for Use in Hazardous (Classified) Locations |
| 917 | Clock-Operated Switches |
| 1053 | Ground Fault Sensing and Relaying Equipment |
| 1062 | Unit Substations |
| 1244 | Electrical and Electronic Measuring and Testing Equipment |
| 1277 | Electrical Power and Control Tray Cables with Optional Optical Fiber Members |
| 1436 | Outlet Circuit Testers and Similar Indicating Devices |
| 1562 | Distribution Transformers, Dry-Type – Over 600 Volts |
| 1573 | Stage and Studio Luminaires and Connector Strips |
| 1651 | Optical Fiber Cable Standard |
| 1655 | Construction, Test, and Marking Requirements Covering the Safety of Community-Antenna Television Cables |
| 1684A | Supplemental Requirements for Extra Heavy Reinforced Wall |
| 1685 | Vertical Tray Fire Propagation and Smoke Release Test for Electrical and Optical Fiber Cables |
| 1711 | Amplifiers for Fire Protective Signaling Systems |
| 1773 | Termination Boxes |
| 2024 | Cable Routing Assemblies and Communications Raceways |
| 2075 | Gas and Vapor Detectors and Sensors |
| 2200 | Stationary Engine Generator Assemblies |
| 2572 | Mass Notification Systems |
| Category Code VZCA | Certification, as a minimum, listing the tested values for VPRs, nominal ratings, MCOVs, type designations, OCPDs |
| FS W-C-596 | Mechanical and Electrical Life of Modular Wiring Devices |
| FS W-S-896 | Switches, Toggles (Toggle and Lock), Flush Mounted |