MasterSpec 09/15

SECTION 01 78 39

PROJECT RECORD DOCUMENTS

Revise this Section by deleting and inserting text to meet Project-specific requirements.

Verify that Section titles referenced in this Section are correct for this Project's Specifications; Section titles may have changed.

GENERAL

RELATED DOCUMENTS

MANDATORY REQUIREMENT:  Retain this article in all Sections of Project Manual.

Drawings and general provisions of the Contract, including General and Supplementary Conditions and other Division 01 Specification Sections, apply to this Section.

SUMMARY

Section includes administrative and procedural requirements for project record documents, including the following:

Record Drawings.

Record Specifications.

Record Product Data.

Miscellaneous record submittals.

Related Requirements:

Retain subparagraphs below to cross-reference requirements Contractor might expect to find in this Section but are specified in other Sections.

Section 01 73 00 "Execution" for final property survey.

Section 01 77 00 "Closeout Procedures" for general closeout procedures.

Section 01 78 23 "Operation and Maintenance Data" for operation and maintenance manual requirements.

CLOSEOUT SUBMITTALS

Record Drawings: Submit one electronic copy of marked-up record prints.

Record Specifications: Submit one electronic copy of marked-up record specifications, including addenda and contract modifications.

Record Product Data: Submit one electronic copy of each submittal.

Where record Product Data are required as part of operation and maintenance manuals, submit duplicate marked-up Product Data as a component of manual.

Retain paragraphs below to suit Project.

Construction Waste Management Plan: Submit one electronic copy of construction waste management plan and a final summary of construction waste management data as specified in Section 01 74 19 “Construction Waste Management and Disposal.”

Commissioning Report: Submit one electronic copy of the commissioning report as specified in Section 01 91 13 “General Commissioning Requirements.”

RECORD DRAWINGS

Record Prints: Maintain one set of marked-up paper copies of the Contract Drawings and Shop Drawings, incorporating new and revised drawings as modifications are issued, depicting the current status of the Work.

Preparation: Mark record prints to show the actual installation where installation varies from that shown originally. Require individual or entity who obtained record data, whether individual or entity is installer, subcontractor, or similar entity, to provide information for preparation of corresponding marked-up record prints.

Give particular attention to information on concealed elements that would be difficult to identify or measure and record later.

Accurately record information in an acceptable drawing technique.

Record data as soon as possible after obtaining it.

Record and check the markup before enclosing concealed installations.

Content: Types of items requiring marking include:

Dimensional changes to Drawings.

Revisions to details shown on Drawings.

Depths of foundations.

Locations and depths of underground utilities.

Revisions to routing of piping and conduits.

Revisions to electrical circuitry.

Actual equipment locations.

Duct size and routing.

Locations of concealed internal utilities.

Changes made by Change Order, Construction Change Directive, or Field Work Order.

Changes made following Architect's written orders.

Details not on the original Contract Drawings.

Field records for variable and concealed conditions.

Record information on the Work that is shown only schematically.

Changes made by responses to Requests for Information (RFI’s).

Mark the Contract Drawings and Shop Drawings completely and accurately. Use personnel proficient at recording graphic information in production of marked-up record prints.

Mark record sets with erasable, red-colored pencil. Use other colors to distinguish between changes for different categories of the Work at same location.

Mark important additional information that was either shown schematically or omitted from original Drawings.

Note Construction Change Directive numbers, alternate numbers, Change Order numbers, allowances applied, and similar identification, where applicable.

RECORD SPECIFICATIONS

Preparation: Mark Specifications to indicate the actual product installation where installation varies from that indicated in Specifications, addenda, and contract modifications.

Give particular attention to information on concealed products and installations that cannot be readily identified and recorded later.

Mark copy with the proprietary name and model number of products, materials, and equipment furnished, including substitutions and product options selected.

Note related Change Orders where applicable.

RECORD PRODUCT DATA

Recording: Maintain one copy of each submittal during the construction period for project record document purposes.

Preparation: Mark Product Data to indicate the actual product installation where installation varies substantially from that indicated in Product Data submittal.

Give particular attention to information on concealed products and installations that cannot be readily identified and recorded later.

Note related Change Orders where applicable.

Insert requirements for record Samples if needed.

RECORDING AND MAINTENANCE

Maintenance of Record Documents and Samples: Store record documents and Samples in the field office apart from the Contract Documents used for construction. Do not use project record documents for construction purposes. Maintain record documents in good order and in a clean, dry, legible condition, protected from deterioration and loss. Provide access to project record documents for Architect's, Project Inspector’s, and District Construction Manager's reference during normal working hours.

Review Record Documents weekly with Project Inspector.  Indicate to Project Inspector the items incorporated in Project Record Documents concurrent with progress of the Work, including modifications, concealed conditions, field changes, product selections, and other notations incorporated.

PRODUCTS (Not Used)

EXECUTION (Not Used)

END OF SECTION 01 78 39

Retain this notice in all Sections of Project Manual.

San Diego Unified School District Guide Specifications

Document Version: February 14, 2022 Bulletin