MasterSpec 09/15

SECTION 01 79 00

DEMONSTRATION AND TRAINING

Revise this Section by deleting and inserting text to meet Project-specific requirements.

Verify that Section titles referenced in this Section are correct for this Project's Specifications; Section titles may have changed.

GENERAL

Coordinate this Section with other Sections of the specification.  Do not use this Section if demonstration and training is not required by other Sections.

RELATED DOCUMENTS

MANDATORY REQUIREMENT:  Retain this article in all Sections of Project Manual.

Drawings and general provisions of the Contract, including General and Supplementary Conditions and other Division 01 Specification Sections, apply to this Section.

SUMMARY

Section includes administrative and procedural requirements for instructing District's personnel, including the following:

Demonstration of operation of systems, subsystems, and equipment.

Training in operation and maintenance of systems, subsystems, and equipment.

Demonstration and training video recordings.

Related Requirements:

Divisions 2 through 33 Sections for specific requirements for demonstration and training of products and systems in those Sections.

INFORMATIONAL SUBMITTALS

Instruction Program: Submit outline of instructional program for demonstration and training, including a list of training modules and a schedule of proposed dates, times, length of instruction time, and instructors' names for each training module. Include learning objective and outline for each training module.

Indicate proposed training modules using manufacturer-produced demonstration and training video recordings for systems, equipment, and products in lieu of video recording of live instructional module.

Coordinate "Qualification Data" Paragraph below with qualification requirements in "Quality Assurance" Article.

Qualification Data: For training facilitator or instructor.

Attendance Record: For each training module, submit list of participants and length of instruction time.

CLOSEOUT SUBMITTALS

Demonstration and Training Video Recordings: Submit two copies within seven days of end of each training module.

Identification: On each copy, provide an applied label with the following information:

Name of Project.

Name and address of videographer.

Name of Architect.

Name of District Construction Manager.

Name of Contractor.

Names of Contractor Construction Manager, Project Manager, and Superintendent.

Date of video recording.

Transcript: Prepared in PDF electronic format. Include a cover sheet with same label information as the corresponding video recording and a table of contents with links to corresponding training components. Include name of Project and date of video recording on each page.

At completion of training, submit complete training manual(s) for District's use in PDF electronic file format.

QUALITY ASSURANCE

Facilitator Qualifications: A firm or individual experienced in training or educating maintenance personnel in a training program similar in content and extent to that indicated for this Project, and whose work has resulted in training or education with a record of successful learning performance.

Instructor Qualifications: A factory-authorized service representative experienced in operation and maintenance procedures and training.

Videographer Qualifications: A professional videographer who is experienced photographing demonstration and training events similar to those required.

Preinstruction Conference: Conduct conference at Project site. Review methods and procedures related to demonstration and training including:

Inspect and discuss locations and other facilities required for instruction.

Review and finalize instruction schedule and verify availability of educational materials, instructors' personnel, audiovisual equipment, and facilities needed to avoid delays.

Review required content of instruction.

For instruction that must occur outside, review weather and forecasted weather conditions and procedures to follow if conditions are unfavorable.

COORDINATION

Coordinate instruction schedule with District's operations. Adjust schedule as required to minimize disrupting District's operations and to ensure availability of District's personnel.

Coordinate instructors, including providing notification of dates, times, length of instruction time, and course content.

Coordinate content of training modules with content of approved emergency, operation, and maintenance manuals. Do not submit instruction program until operation and maintenance data have been reviewed.

INSTRUCTION PROGRAM

Individual Specification Sections include requirements for demonstration and training.

Program Structure: Develop an instruction program that includes individual training modules for each system and for equipment not part of a system, as required by individual Specification Sections.

Training Modules: Develop a learning objective and teaching outline for each module. Include a description of specific skills and knowledge that participant is expected to master. For each module, include instruction for the following as applicable to the system, equipment, or component:

Basis of System Design, Operational Requirements, and Criteria: Include the following:

System, subsystem, and equipment descriptions.

Performance and design criteria if Contractor is delegated design responsibility.

Operating standards.

Regulatory requirements.

Equipment function.

Operating characteristics.

Limiting conditions.

Performance curves.

Documentation: Review the following items in detail:

Emergency manuals.

Systems and equipment operation manuals.

Systems and equipment maintenance manuals.

Product maintenance manuals.

Project record documents.

Identification systems.

Warranties and bonds.

Maintenance service agreements and similar continuing commitments.

Emergencies: Include the following, as applicable:

Instructions on meaning of warnings, trouble indications, and error messages.

Instructions on stopping.

Shutdown instructions for each type of emergency.

Operating instructions for conditions outside of normal operating limits.

Sequences for electric or electronic systems.

Special operating instructions and procedures.

Operations: Include the following, as applicable:

Startup procedures.

Equipment or system break-in procedures.

Routine and normal operating instructions.

Regulation and control procedures.

Control sequences.

Safety procedures.

Instructions on stopping.

Normal shutdown instructions.

Operating procedures for emergencies.

Operating procedures for system, subsystem, or equipment failure.

Seasonal and weekend operating instructions.

Required sequences for electric or electronic systems.

Special operating instructions and procedures.

Adjustments: Include the following:

Alignments.

Checking adjustments.

Noise and vibration adjustments.

Economy and efficiency adjustments.

Troubleshooting: Include the following:

Diagnostic instructions.

Test and inspection procedures.

Maintenance: Include the following:

Inspection procedures.

Types of cleaning agents to be used and methods of cleaning.

List of cleaning agents and methods of cleaning detrimental to product.

Procedures for routine cleaning.

Procedures for preventive maintenance.

Procedures for routine maintenance.

Instruction on use of special tools.

Repairs: Include the following:

Diagnosis instructions.

Repair instructions.

Disassembly; component removal, repair, and replacement; and reassembly instructions.

Instructions for identifying parts and components.

Review of spare parts needed for operation and maintenance.

PREPARATION

Assemble educational materials necessary for instruction, including documentation and training module. Assemble training modules into a training manual organized in coordination with requirements in Section 01 78 23 "Operation and Maintenance Data."

Set up instructional equipment at instruction location.

INSTRUCTION

Facilitator: Engage a qualified facilitator to prepare instruction program and training modules, to coordinate instructors, and to coordinate between Contractor and District for number of participants, instruction times, and location.

Engage qualified instructors to instruct District's personnel to adjust, operate, and maintain systems, subsystems, and equipment not part of a system.

District will furnish a representative to describe District's operational philosophy.

District will furnish Contractor with names and positions of participants.

Scheduling: Provide instruction at mutually agreed on times.  For equipment that requires seasonal operation, provide instruction addressing seasonal operations variations.

Schedule training with District, through District Construction Manager, with at least seven days' advance notice.

Training Location: Conduct training on-site in the completed and fully operational facility using the actual equipment in-place. When necessary, provide classroom training.

Webinar training is not acceptable.

Reference Material: Conduct training using final operation and maintenance data submittals.

Cleanup: Collect used and leftover educational materials and give to District.  Remove instructional equipment.  Restore systems and equipment to condition existing before initial training use.

DEMONSTRATION AND TRAINING VIDEO RECORDINGS

Retain this article if required by District to suit project.

General: Engage a qualified commercial videographer to record demonstration and training video recordings. Record each training module separately. Include classroom instructions and demonstrations, board diagrams, and other visual aids, but not student practice.

At beginning of each training module, record each chart containing learning objective and lesson outline.

Digital Video Recordings: Provide high-resolution, color digital video in MPEG format, produced by a digital camera with minimum sensor resolution of 12 megapixels and capable of recording in full HD mode[with vibration reduction technology].

Submit video recordings on thumb drive.

File Hierarchy: Organize folder structure and file locations according to project manual table of contents. Provide complete screen-based menu.

File Names: Utilize file names based upon name of equipment generally described in video segment, as identified in Project specifications.

Contractor and Installer Contact File: Using appropriate software, create a file for inclusion on the Equipment Demonstration and Training thumb drive that describes the following for each Contractor involved on the Project, arranged according to Project table of contents:

Name of Contractor/Installer.

Business address.

Business phone number.

Point of contact.

E-mail address.

Recording: Mount camera on tripod before starting recording, unless otherwise necessary to adequately cover area of demonstration and training. Display continuous running time.

Film training session(s) in segments not to exceed 15 minutes.

Produce segments to present a single significant piece of equipment per segment.

Organize segments with multiple pieces of equipment to follow order of Project Manual table of contents.

Where a training session on a particular piece of equipment exceeds 15 minutes, stop filming and pause training session. Begin training session again upon commencement of new filming segment.

Light Levels: Verify light levels are adequate to properly light equipment. Verify equipment markings are clearly visible prior to recording.

Furnish additional portable lighting as required.

Narration: Describe scenes on video recording by audio narration. Include description of items being viewed.

Transcript: Provide a transcript of the narration. Display images and running time captured from videotape opposite the corresponding narration segment.

Preproduced Video Recordings: Provide video recordings used as a component of training modules in same format as recordings of live training.

PRODUCTS (Not Used)

EXECUTION (Not Used)

END OF SECTION 01 79 00

Retain this notice in all Sections of Project Manual.

San Diego Unified School District Guide Specifications

Document Version: August 2021